## Slide 1: Connecting Buildings to the Enterprise
Paul Ehrlich, PE
President Building Intelligence Group
Co-Chair of the OASIS oBIX Technical Committee

## Slide 2: oBIX
Open – all technical details freely available
Building – any and all building systems
Information – pertinent system data
eXchange – interoperability

## Slide 3: Agenda
What is Facility Management
Why should facilities tie into the enterprise
History of open standards work to date
What is going on in the oBIX technical committee

## Slide 4: Facility Management
Facility management covers real time control and monitoring of all mechanical and electrical systems in a building
  Heating, ventilation, air conditioning (HVAC)
  Fire alarm and security systems
  Electrical distribution and metering
  Other systems (medical gas, generators, etc.)
FMS Definition...
  “A facility management system should be a comprehensive resource… a collection of data that helps you mange your business, whether it be the utilities, energy, human resources, work orders or inventories. “

## Slide 5
Notes: <number>
<footer>
<header>
<date/time>
Here is an example of a control system. From a graphical screen the operator can easily navigate through the system to determine if there are problems, as well as responding to occupants complaints.

## Slide 6
Notes: <number>
<footer>
<header>
<date/time>
The equipment diagnostics will typically go down to the room level allowing for changes not possible in older systems.

## Slide 7
Notes: <number>
<footer>
<header>
<date/time>
One of the most critical applications for efficient operations is Time of Day Scheduling. By only having the facility operating and ventilated during actual occupancy great energy savings is possible.

## Slide 8: Facilities Hierarchy Model

## Slide 9: Business Hierarchy Model

## Slide 10: Industry History

## Slide 11: Interoperable Standards
Owners are looking for:
  Single access point
  Options for the future
Open standards provide these solutions
  BACnet - now a Global (ISO) standard
  LonTalk - easily implemented for small controllers
  Modbus - industry defacto standard
But today 65% of new installations are still proprietary...

## Slide 12: What is new
Networks (IP) provides full time connectivity
  TCP/IP
  XML / Web Services
Open systems make connections easier
  BACnet, LonTalk, Modbus, oBIX, others
Global competition puts a focus on efficiency
Application Development environments allow for solution development

## Slide 13: How does this change things?
Ability to manage groups of buildings
Information available for management
Decision making can be centralized
Potential to improve efficiency – lowering costs
Incremental value leveling off
Next wave of Improvement driven by Operational Excellence
1990s
2000s
Value
Cost and Efficiency Focus
Source: Du Pont / ARC Advisory Group

## Slide 14: Acceptance?
First:
  Colleges and Universities
  National Account retailers
Second:
  School Districts
  Government
  Healthcare
Third:
  Commercial office buildings
  Hospitality
  Industrial

## Slide 15: Challenges
Today many vendors are using XML and web services in their products in a non-standard method
Standards are needed sooner rather then later
These will not replace industry specific standards such as BACnet and LonTalk
A commitment is being made by the industry to accomplish this work

## Slide 16: Background
Effort started in a trade group (CABA) 3 years ago. Moved to OASIS in 2004.
Strong technical progress made – internally at a .6 release
Successful public demonstration with 4 vendors in March
Hope to release V1 later this year
Work starting on defining V2

## Slide 17: What kind of data?
Simple: Room Temperature of Lobby
Lengthy: List of people currently in East Wing with time of entry
Complex: Current state of all systems across an entire university campus
Reports: Variation of internal humidity of sports hall over the last 6 months

## Slide 18: How is the data structured?
Simple data follows the SI system:
  Mass in kilograms
  Length in metres
  Time in seconds
  etc
More complex data structures are built from these

## Slide 19: How is the data accessed?
Data is accessed at a ‘Datapoint’ and exposed by a ‘Point Service’
Datapoints are revealed by a ‘Discovery Service’
Data trends are reported by a ‘History Service’
Critical events are signalled by the ‘Alarm Service’

## Slide 20: Questions